## Pipemark Non Stock
Pipemark Code | Pipemark Code | Description |  |  | Small - Large Rolls BS1710: 2014
150mm | 275mm
| PIPEM-ANP | ALTERNATIVE SOURCE NON-POTABLE WATER
PIPEM02AB | PIPEM02A | CONDENSATE DRAIN |  |  |  |  | CONDENSATE DRAIN
| PIPEM03-S | CHW SUPPLY |  |  |  |  | CHW SUPPLY
PIPEM05AB |  | CWS (white/blue/white) |  |  |  |  | CWS
| PIPEM11-R | BCWS RETURN |  |  |  |  | BCWS RETURN
PIPEM11B-NP |  | BCWS (NON POTABLE) |  |  |  |  | BCWS (NP)
PIPEM11B-P |  | BCWS (POTABLE) |  |  |  |  | BCWS (P)
| PIPEM15 | UNTREATED WATER |  |  |  |  | UNTREATED WATER
| PIPEM16B | FIRE MAIN (NO ARROWS) |  |  |  |  | FIRE MAIN
| PIPEM19 | AMMONIA |  |  |  |  | AMMONIA
| PIPEM23 | BOOSTED MAINS WATER SERVICE |  |  |  |  | BOOSTED MAINS WATER SERVICE
| PIPEM29 | PRIMARY HOT WATER |  |  |  |  | PRIMARY HOT WATER
| PIPEM30 | RAINWATER BOOSTED COLD SERVICE |  |  |  |  | RAINWATER BOOSTED COLD SERVICE
| PIPEM38 | FIRE HYDRANT |  |  |  |  | FIRE HYDRANT
| PIPEM41 | GREASE WASTE PIPE |  |  |  |  | GREASE WASTE PIPE
PIPEM43B | PIPEM43 | GRAVITY POTABLE WATER |  |  |  |  | GRAVITY POTABLE WATER
| PIPEM47 | TREATED WASTE WATER |  |  |  |  | TREATED WASTE WATER
PIPEM49B | PIPEM49 | MAKE UP WATER SUPPLY |  |  |  |  | MAKE UP WATER SUPPLY
| PIPEM50 | DIESEL SUPPLY |  |  |  |  | DIESEL SUPPLY
| PIPEM54 | HARVESTED WATER |  |  |  |  | HARVESTED WATER
PIPEM55-FB | PIPEM55-F | SOLAR FLOW |  |  |  |  | SOLAR FLOW
PIPEM55-RB | PIPEM55-R | SOLAR RETURN |  |  |  |  | SOLAR RETURN
PIPEM59B | PIPEM59 | SLUDGE |  |  |  |  | SLUDGE
| PIPEM60 | SAS |  |  |  |  | SAS
| PIPEM61 | FE |  |  |  |  | FE
PIPEM62-FB | PIPEM62-F | HPHW FLOW |  |  |  |  | HPHW FLOW
PIPEM62-RB | PIPEM62-R | HPHW RETURN |  |  |  |  | HPHW RETURN
| PIPEM63 | CONDENSE |  | C O N | D E N | S E
| PIPEM64 | AFTERCOOLING | A F T | E R | C O O | L I N | G
PIPEM65B |  | HOT OIL |  |  | H O T O I L
| PIPEM66 | MILK |  |  |  |  | MILK
| PIPEM67 | CREAM |  |  |  |  | CREAM
| PIPEM68 | INTERFACE |  |  |  |  | INTERFACE
| PIPEM69 | BIOFUEL |  |  |  |  | BIOFUEL
PIPEM70B | PIPEM70 | ACID |  |  |  |  | ACID
PIPEM71B | PIPEM71 | CIP |  |  |  |  | CIP
| PIPEM72 | DETERGENT |  |  |  |  | DETERGENT
| PIPEM74 | FILTERED AIR |  |  |  |  | FILTERED AIR
| PIPEM75-F | GYLCOL FLOW |  |  |  |  | GYLCOL FLOW
| PIPEM75-R | GLYCOL RETURN |  |  |  |  | GLYCOL RETURN
| PIPEM76 | STERILANT |  |  |  |  | STERILANT
PIPEM77B | PIPEM77 | BIO GAS |  |  |  |  | BIO GAS
| PIPEM78 | SYPHONIC RWP |  |  |  |  | SYPHONIC RWP
| PIPEM82 | HAZARDOUS GAS |  |  |  |  | HAZARDOUS GAS
PIPEM84B | PIPEM84 | DEMINERALISED WATER |  |  |  |  | DEMINERALISED WATER
PIPEM85B | PIPEM85 | EFFLUENT |  |  |  |  | EFFLUENT
| PIPEM86 | FILTERED WATER |  |  |  |  | FILTERED WATER
| PIPEM87 | NEUTRALISED EFFLUENT |  |  |  |  | NEUTRALISED EFFLUENT
| PIPEM88 | PROCESS WATER |  |  |  |  | PROCESS WATER
| PIPEM89 | RECYCLED WATER |  |  |  |  | RECYCLED WATER
PIPEM90-FB | PIPEM90-F | MPHW FLOW |  |  |  |  | MPHW FLOW
PIPEM90-RB | PIPEM90-R | MPHW RETURN |  |  |  |  | MPHW RETURN
PIPEM91B | PIPEM91 | CAUSTIC |  |  |  |  | CAUSTIC
| PIPEM93-F | PROCESS CHW FLOW |  |  |  |  | PROCESS CHW FLOW
| PIPEM93-R | PROCESS CHW RETURN |  |  |  |  | PROCESS CHW RETURN
PIPEM94-FB |  | BUFFER FLOW |  |  |  |  | BUFFER FLOW
PIPEM94-RB |  | BUFFER RETURN |  |  |  |  | BUFFER RETURN
| PIPEM95-F | DISTRICT HEATING FLOW |  |  |  |  | DISTRICT HEATING FLOW
| PIPEM95-R | DISTRICT HEATING RETURN |  |  |  |  | DISTRICT HEATING RETURN
PIPEM97B |  | RO (HOT) |  |  |  |  | RO (HOT)
PIPEM98B |  | RO (COLD) |  |  |  |  | RO (COLD)
PIPEM99B |  | FWD |  |  |  |  | FWD
| PIPEM101-F | CANAL WATER FEED |  |  |  |  | CANAL WATER FEED
| PIPEM101-R | CANAL WATER RETURN |  |  |  |  | CANAL WATER RETURN
PIPEM102-FB | PIPEM102-F | RE-CIRCULATION WATER FEED |  |  |  |  | RE-CIRCULATION WATER FEED
PIPEM102-RB | PIPEM102-R | RE-CIRCULATION WATER RETURN |  |  |  |  | RE-CIRCULATION WATER RETURN
PIPEM102-FL |  | RE-CIRCULATION WATER FLOW |  |  |  |  | RE-CIRCULATION WATER FLOW
PIPEM103-FB | PIPEM103-F | COOLING TOWER WATER FEED |  |  |  |  | COOLING TOWER WATER FEED
PIPEM103-RB | PIPEM103-R | COOLING TOWER WATER RETURN |  |  |  |  | COOLING TOWER WATER RETURN
| PIPEM104-F | BURNER WATER FEED |  |  |  |  | BURNER WATER FEED
| PIPEM105 | FUEL OIL |  |  |  |  | FUEL OIL
PIPEM106B | PIPEM106 | LUBE OIL |  |  |  |  | LUBE OIL
| PIPEM107-F | CHW FLOW |  |  |  |  | CHW FLOW
| PIPEM107-R | CHW RETURN |  |  |  |  | CHW RETURN
PIPEM110B |  | CONDENSATE SYSTEM VENT |  |  |  |  | CONDENSATE SYSTEM VENT
PIPEM114B |  | FLASH STEAM |  |  |  |  | FLASH STEAM
| PIPEM117B | QUENCH WATER FEED |  |  |  |  | QUENCH WATER FEED
PIPEM119B | PIPEM119 | VACUUM |  |  |  |  | VACUUM
PIPEM124B |  | CAT 5 |  |  |  |  | CART 5
| PIPEM125 | LAB CWS (all blue) |  |  |  |  | LAB CWS
| PIPEM126-F | LAB HWS FLOW |  |  |  |  | LAB HWS FLOW
| PIPEM126-R | LAB HWS RETURN |  |  |  |  | LAB HWS RETURN
| PIPEM129 | HFE |  |  |  |  | HFE
| PIPEM130 | GPA |  |  |  |  | GPA
PIPEM131B | PIPEM131 | TOWNS WATER |  |  |  |  | TOWNS WATER
| PIPEM132 | COLD WATER DOUCHE |  |  |  |  | COLD WATER DOUCHE
| PIPEM133 | HOT WATER DOUCHE |  |  |  |  | HOT WATER DOUCHE
| PIPEM134-F | TOWEL RAIL FLOW |  |  |  |  | TOWEL RAIL FLOW
| PIPEM134-R | TOWEL RAIL RETURN |  |  |  |  | TOWEL RAIL RETURN
PIPEM141B | PIPEM141 | THERMAL OIL |  |  |  |  | THERMAL OIL
PIPEM142B | PIPEM142 | FRESH OIL |  |  |  |  | FRESH OIL
PIPEM143B | PIPEM143 | NATURAL GAS |  |  |  |  | NATURAL GAS
PIPEM144B |  | ETHANOL |  |  |  |  | ETHANOL | PB
PIPE146B |  | TEA |  |  |  |  | TEA | PB
PIPEM147B |  | TOWNS WATER |  |  |  |  | TOWNS WATER
PIPEM148B | PIPEM148 | PHOSPHORIC ACID |  |  |  |  | PHOSPHORIC ACID
| PIPEM149-F | UN-STABILISED CONDENSATE FLOW |  |  |  |  | UN-STABILISED CONDENSATE FLOW
| PIPEM149-R | UN-STABILISED CONDENSATE RETURN |  |  |  |  | UN-STABILISED CONDENSATE RETURN
| PIPEM151-F | CLOSED DRAIN FLOW |  |  |  |  | CLOSED DRAIN FLOW
| PIPEM151-R | CLOSED DRAIN RETURN |  |  |  |  | CLOSED DRAIN RETURN
PIPEM152B | PIPEM152 | RIVER WATER |  |  |  |  | RIVER WATER
PIPEM153B | PIPEM153 | AIR |  |  |  |  | AIR
| PIPEM155-F | LTHW LG FLOW |  |  |  |  | LTHW LG FLOW
| PIPEM155-R | LTHW LG RETURN |  |  |  |  | LTHW LG RETURN
| PIPEM156-F | ENVIRONMENTAL CHW LOW GRADE FLOW |  |  |  |  | ENVIRONMENTAL CHW LOW GRADE FLOW
| PIPEM156-R | ENVIRONMENTAL CHW LOW GRADE RETURN |  |  |  |  | ENVIRONMENTAL CHW LOW GRADE RETURN
| PIPEM156-F | ENVIRONMENTAL CHW FLOW |  |  |  |  | ENVIRONMENTAL CHW FLOW
| PIPEM156-R | ENVIRONMENTAL CHW RETURN |  |  |  |  | ENVIRONMENTAL CHW RETURN
| PIPEM158 | SULPHUR |  |  |  |  | SULPHUR
| PIPEM159 | SULPHUR VAPOUR |  |  |  |  | SULPHUR VAPOUR
| PIPEM160 | METHANOL |  |  |  |  | METHANOL
| PIPEM161-F | HOT THERMAL FLUID FLOW |  |  |  | HOT THERMAL FLUID FLOW
| PIPEM161-R | HOT THERMAL FLUID RETURN |  |  |  | HOT THERMAL FLUID RETURN
| PIPEM162-F | COLD THERMAL FLUID FLOW |  |  |  | COLD THERMAL FLUID FLOW
| PIPEM162-R | COLD THERMAL FLUID RETURN |  |  |  | COLD THERMAL FLUID RETURN
| PIPEM163 | DERD 2453 |  |  |  |  | DERD 2453
| PIPEM164 | CARCAL 4 |  |  |  |  | CARCAL 4
| PIPEM165 | WASTE FUEL |  |  |  |  | WASTE FUEL
| PIPEM166 | WASTE CUTTING OIL |  |  |  |  | WASTE CUTTING OIL
| PIPEM167-F | HT CHW FLOW |  |  |  |  | HT CHW FLOW
| PIPEM167-R | HT CHW RETURN |  |  |  |  | HT CHW RETURN
PIPEM168B | PIPEM168 | GROUND SOURCE HEAT PUMP |  |  |  |  | GROUND SOURCE HEAT PUMP
PIPEM170B | PIPEM170 | BRINE |  |  |  |  | BRINE
PIPEM171B | PIPEM171 | LP AIR |  |  |  |  | LP AIR
PIPEM172B | PIPEM172 | HP AIR |  |  |  |  | HP AIR
PIPE174B |  | SEWAGE |  |  |  |  | SEWAGE
PIPEM177B | PIPEM177 | WASTE OIL |  |  |  |  | WASTE OIL
PIPEM178B |  | FUEL VENT |  |  |  |  | FUEL VENT
| PIPEM181 | PROCESS WATER 1 (PW1) |  |  |  |  | PROCESS WATER (PW 1)
| PIPEM182 | PROCESS WATER 2 (PW2) |  |  |  |  | PROCESS WATER (PW 2)
| PIPEM183 | RETURN LIQUORS (PW0) |  |  |  |  | RETURN LIQUORS (PW 0)
| PIPEM184 | LF SCREW WASHWATER (PW0) |  |  |  |  | LF SCREW WASHWATER (PW 0)
| PIPEM185 | LF SCREW FILTRATE (PW0) |  |  |  |  | LF SCREW FILTRATE (PW 0)
| PIPEM186 | SERVICE WATER |  |  |  |  | SERVICE WATER
| PIPEM187 | PULPED SLUDGE |  |  |  |  | PULPED SLUDGE
| PIPEM188 | DEGRITTED PULPED SLUDGE |  |  |  |  | DEGRITTED PULPED SLUDGE
| PIPEM189 | SWSC |  |  |  |  | SWSC
PIPEM190B | PIPEM190 | BORE HOLE WATER SUPPLY |  |  |  |  | BORE HOLE WATER SUPPLY
PIPEM191B | PIPEM191 | BEVERAGE WATER |  |  |  |  | BEVERAGE WATER
PIPEM192B | PIPEM192 | Co2 |  |  |  |  | Co2
PIPEM193B | PIPEM193 | DETERGENT |  |  |  |  | DETERGENT
PIPEM194-FB | PIPEM194-F | CIP FLOW |  |  |  |  | CIP FLOW
PIPEM194-RB | PIPEM194-R | CIP RETURN |  |  |  |  | CIP RETURN
| PIPEM195 | CONDENSATE |  |  |  |  | CONDENSATE
PIPEM196B | PIPEM196 | PRODUCT |  |  |  |  | PRODUCT
PIPEM197B | PIPEM197 | SUGAR ROUTE |  |  |  |  | SUGAR ROUTE
PIPEM198B | PIPEM198 | CITRIC ACID |  |  |  |  | CITRIC ACID
PIPEM199B | PIPEM199 | BASE ROUTE |  |  |  |  | BASE ROUTE
PIPEM200B | PIPEM200 | SYRUP |  |  |  |  | SYRUP
PIPEM201B | PIPEM201 | MIX |  |  |  |  | MIX
| PIPEM202 | PROCESS |  |  |  |  | PROCESS
| PIPEM203 | PPW |  |  |  |  | PPW
| PIPEM204 | PENS EFFLUENT |  |  |  |  | PENS EFFLUENT
| PIPEM205 | DIGESTATE |  |  |  |  | DIGESTATE
| PIPEM206 | THICKENED SLUDGE |  |  |  |  | THICKENED SLUDGE
| PIPEM207 | SLUDGE |  |  |  |  | SLUDGE
| PIPEM208 | ANTIFOAM |  |  |  |  | ANTIFOAM
| PIPEM209 | POLY |  |  |  |  | POLY
| PIPEM210 | NEAT POLYMER |  |  |  |  | NEAT POLYMER
| PIPEM211 | FERRIC |  |  |  |  | FERRIC
| PIPEM212 | ANTI SCALANT |  |  |  |  | ANTI SCALANT
| PIPEM213 | SODIUM HYDROXIDE |  |  |  |  | SODIUM HYDROXIDE
| PIPEM214 | CENTRATE |  |  |  |  | CENTRATE
| PIPEM215 | RAINWATER |  |  |  |  | RAINWATER
| PIPEM216 | DIGESTER AREA DRAINAGE |  |  |  |  | DIGESTER AREA DRAINAGE
| PIPEM217 | THICKENER FILTRATE |  |  |  |  | THICKENER FILTRATE
| PIPEM218 | DIRTY BACKWASH |  |  |  |  | DIRTY BACKWASH
| PIPEM219 | ACF PLANT WASTEWATER |  |  |  |  | ACF PLANT WASTEWATER
| PIPEM220 | HOT WATER RECIRC |  |  |  |  | HOT WATER RECIRC
| PIPEM221 | SBR EFFLUENT |  |  |  |  | SBR EFFLUENT
| PIPEM222 | SBR SLUDGE |  |  |  |  | SBR SLUDGE
| PIPEM223 | SBR BUND DRAINAGE |  |  |  |  | SBR BUND DRAINAGE
| PIPEM224 | ODOUR WASTE LIQUORS |  |  |  |  | ODOUR WASTE LIQUORS
| PIPEM225 | VENTURI SCRUBBER RECIRCULATION |  |  |  |  | VENTURI SCRUBBER RECIRCULATION
| PIPEM226 | BIOFILTER IRRIGATION WATER |  |  |  |  | BIOFILTER IRRIGATION WATER
| PIPEM227 | SITE COLLECTION WATER |  |  |  |  | SITE COLLECTION WATER
| PIPEM228 | CONDENSATE |  |  |  |  | CONDENSATE
| PIPEM229 | FRUIT COMPOUND |  |  |  |  | FRUIT COMPOUND
| PIPEM230 | FRUIT JUICE |  |  |  |  | FRUIT JUICE
PIPEM231B |  | SODA |  |  |  |  | SODA
PIPEM232B | PIPEM232 | RO WATER |  |  |  |  | RO WATER
PIPEM234B |  | W.F.I WATER FOR INJECTION |  |  |  |  | W.F.I WATER FOR INJECTION
PIPEM235B |  | PURE STEAM |  |  |  |  | PURE STEAM
PIPEM236B | PIPEM236-P | BOREHOLE WATER (POTABLE) |  |  |  |  | BOREHOLE WATER
PIPEM237B | PIPEM237 | REFRIGERATION |  |  |  |  | REFRIGERATION
| PIPEM238-F | HTG HGHW FLOW |  |  |  |  | HTG HGHW FLOW
| PIPEM238-R | HTG HGHW RETURN |  |  |  |  | HTG HGHW RETURN
| PIPEM239-F | HTG LGHW FLOW |  |  |  |  | HTG LGHW FLOW
| PIPEM239-R | HTG LGHW RETURN |  |  |  |  | HTG LGHW RETURN
PIPEM240-FB | PIPEM240-F | CHW CT FLOW |  |  |  |  | CHW CT FLOW
PIPEM240-RB | PIPEM240-R | CHW CT RETURN |  |  |  |  | CHW CT RETURN
| PIPEM241-R | CHW IT RETURN |  |  |  |  | CHW IT RETURN
| PIPEM242 | COOLANT |  |  |  |  | COOLANT
PIPEM243B | PIPEM243 | DIESEL |  |  |  |  | DIESEL
| PIPEM244 | HIGH PRESSURE NITROGEN |  |  |  |  | HIGH PRESSURE NITROGEN
| PIPEM245 | SOLVENT |  |  |  |  | SOLVENT
| PIPEM246 | WASTE SOLVENT |  |  |  |  | WASTE SOLVENT
| PIPEM247 | HOSE REEL |  |  |  |  | HOSE REEL
PIPEM248B |  | WATER |  |  |  |  | WATER | PB
PIPEM249B | PIPEM249 | SUBSTRATE |  |  |  |  | SUBSTRATE
| PIPEM250 | HOT GLYCOL |  |  |  |  | HOT GLYCOL
| PIPEM251 | COLD GLYCOL |  |  |  |  | COLD GLYCOL
| PIPEM254 | HOT WATER SERVICE COLD FEED |  |  |  |  | HOT WATER SERVICE COLD FEED
PIPEM255B | PIPEM255 | COOLANT |  |  |  |  | COOLANT
| PIPEM256 | BOOSTED COLD FEED |  |  |  |  | BOOSTED COLD FEED
PIPEM257B |  | GLYCEROL |  |  |  |  | GLYCEROL
PIPEM258B | PIPEM258 | FERRIC CHLORIDE |  |  |  |  | FERRIC CHLORIDE
PIPE259B |  | VEGTABLE OIL |  |  |  |  | VEGTABLE OIL
| PIPEM260 | CENTRAL VACUUM |  |  |  |  | CENTRAL VACUUM
| PIPEM261 | OIL AND LUBRICATION |  |  |  |  | OIL AND LUBRICATION
PIPEM262B | PIPEM262 | REVERSE OSMOSIS |  |  |  |  | REVERSE OSMOSIS
| PIPEM263 | NON-DOMESTIC CWS |  |  |  |  | NON-DOMESTIC CWS
| PIPEM264 | BOOSTED BULK CWS |  |  |  |  | BOOSTED BULK CWS
| PIPEM265 | ACETONE |  |  |  |  | ACETONE
| PIPEM266 | ACETONE/DPS |  |  |  |  | ACETONE/DPS
| PIPEM267 | ACETONE/WATER |  |  |  |  | ACETONE/WATER
| PIPEM268 | DPS/LEV |  |  |  |  | DPS/LEV
| PIPEM269 | MOLTEN SALT |  |  |  |  | MOLTEN SALT
| PIPEM270 | WET PAEK/TOFFEE |  |  |  |  | WET PAEK/TOFFEE
| PIPEM271 | DRY PAEK |  |  |  |  | DRY PAEK
| PIPEM272 | MOLTEN PAEK TOFFEE |  |  |  |  | MOLTEN PAEK TOFFEE
| PIPEM273 | PAEK SLURRY |  |  |  |  | PAEK SLURRY
| PIPEM274 | PRESSURISED HOT WATER |  |  |  |  | PRESSURISED HOT WATER
| PIPEM275 | CONVEYING AIR |  |  |  |  | CONVEYING AIR
| PIPEM276 | LEACHER VENT |  |  |  |  | LEACHER VENT
| PIPEM277 | RELIEF VENT |  |  |  |  | RELIEF VENT
| PIPEM278 | PROCESS VENT |  |  |  |  | PROCESS VENT
PIPEM279-FB | PIPEM279 | GLYCOL FLOW |  |  |  |  | GLYCOL FLOW
| PIPEM280 | LOW PRESSURE FUEL OIL |  |  |  |  | LOW PRESSURE FUEL OIL
| PIPEM281 | TOWNS (COOLING) WATER |  |  |  |  | TOWNS (COOLING) WATER
| PIPEM282 | HIGH PRESSURE DEMIN WATER |  |  |  |  | HIGH PRESSURE DEMIN WATER
| PIPEM283 | LOW PRESSURE DEMIN WATER |  |  |  |  | LOW PRESSURE DEMIN WATER
| PIPEM284 | HIGH PRESSURE FUEL OIL |  |  |  |  | HIGH PRESSURE FUEL OIL
PIPEM285B | PIPEM285 | LOW PRESSURE STEAM |  |  |  |  | LOW PRESSURE STEAM
PIPEM286B | PIPEM286 | HIGH PRESSURE STEAM |  |  |  |  | HIGH PRESSURE STEAM
| PIPEM287 | HIGH PRESSURE STEAM SAMPLES |  |  |  |  | HIGH PRESSURE STEAM SAMPLES
| PIPEM288 | BLOWDOWN |  |  |  |  | BLOWDOWN
| PIPEM289 | HIGH PRESSURE NATURAL GAS |  |  |  |  | HIGH PRESSURE NATURAL GAS
| PIPEM290 | LOW PRESSURE NATURAL GAS |  |  |  |  | LOW PRESSURE NATURAL GAS
| PIPEM291 | CHEMICAL DOSING - DILUTE AMMONIA |  |  |  |  | CHEMICAL DOSING DILUTE AMMONIA
| PIPEM292 | CHEMICAL DOSING - PHOSPHATE |  |  |  |  | CHEMICAL DOSING PHOSPHATE
| PIPEM293 | CHEMICAL DOSING - CARBOHYDRAZIDE |  |  |  |  | CHEMICAL DOSING CARBOHYDRAZIDE
| PIPEM294-F | BEDROOM FCU FLOW |  |  |  |  | BEDROOM FCU FLOW
| PIPEM294-R | BEDROOM FCU RETURN |  |  |  |  | BEDROOM FCU RETURN
| PIPEM295 | STEAM 8 BAR |  |  |  |  | STEAM 8 BAR
| PIPEM296 | STEAM 1 BAR |  |  |  |  | STEAM 1 BAR
| PIPEM297 | STEAM 3.5 BAR |  |  |  |  | STEAM 3.5 BAR
| PIPEM298-R | HOT WATER RETURN |  |  |  |  | HOT WATER RETURN
| PIPEM298-S | HOT WATER SUPPLY |  |  |  |  | HOT WATER SUPPLY
| PIPEM299-F | LOW PRESSURE BOILER WATER FEED |  |  |  |  | LOW PRESSURE BOILER WATER FEED
| PIPEM300 | TYFOXIT F20 |  |  |  |  | TYFOXIT F20
| PIPEM301 | OIL |  |  |  |  | OIL
PIPEM302B |  | PROCESS WATER |  |  |  |  | PROCESS WATER | PB
| PIPEM302-FALT | PROCESS WATER FLOW |  |  |  |  | PROCESS WATER FLOW
| PIPEM302-RALT | PROCESS WATER RETURN |  |  |  |  | PROCESS WATER RETURN
PIPEM304B | PIPEM304 | INSTRUMENT AIR |  |  |  |  | INSTRUMENT AIR
PIPEM305B |  | PLANT AIR |  |  |  |  | PLANT AIR
PIPEM306B | PIPEM306 | PROPANE |  |  |  |  | PROPANE
| PIPEM307-F | HIGH PRESSURE BOILER WATER FEED |  |  |  |  | HIGH PRESSURE BOILER WATER FEED
| PIPEM308 | PROCESSED SLURRY |  |  |  |  | PROCESSED SLURRY
| PIPEM309 | SCREENED SLURRY |  |  |  |  | SCREENED SLURRY
| PIPEM310 | DIGESTED SLUDGE |  |  |  |  | DIGESTED SLUDGE
| PIPEM311 | AMBIENT AIR |  |  |  |  | AMBIENT AIR
| PIPEM312 | POLYMER |  |  |  |  | POLYMER
| PIPEM313 | DILUTED POLYMER |  |  |  |  | DILUTED POLYMER
| PIPEM314 | DIGESTATE LIQUOR |  |  |  |  | DIGESTATE LIQUOR
| PIPEM315 | ANTIFOAM OIL |  |  |  |  | ANTIFOAM OIL
| PIPEM316 | CAUSTIC SODA |  |  |  |  | CAUSTIC SODA
| PIPEM317 | ATMOSPHERIC AIR |  |  |  |  | ATMOSPHERIC AIR
| PIPEM318 | H2SO4 |  |  |  |  | H2SO4
PIPEM319B | PIPEM319 | CLEAN OIL |  |  |  |  | CLEAN OIL
| PIPEM320 | WATER TREATMENT |  |  |  |  | WATER TREATMENT
| PIPEM321 | COOL FLOW |  |  |  |  | COOL FLOW
PIPEM322B | PIPEM322 | PUMP DRAINAGE |  |  |  |  | PUMP DRAINAGE
PIPEM323B |  | WASTE EFFLUENTS |  |  |  |  | WASTE EFFLUENTS
PIPEM324B | PIPEM324 | AMINE |  |  |  |  | AMINE
| PIPEM325 | CORROSION INHIBITOR |  |  |  |  | CORROSION INHIBITOR
| PIPEM326 | INERT GAS |  |  |  |  | INERT GAS
| PIPEM327 | PH-CONTROLLANT |  |  |  |  | PH-CONTROLLANT
| PIPEM328 | HYDROGEN |  |  |  |  | HYDROGEN
| PIPEM329 | FEED WATER |  |  |  |  | FEED WATER
PIPEM330B | PIPEM330 | CWDS |  |  |  |  | CWDS
| PIPEM331 | APCR |  |  |  |  | APCR
PIPEM332B |  | BASE OIL |  |  |  |  | BASE OIL
PIPEM333B |  | BARITE |  |  |  |  | BARITE
| PIPEM334 | TRADE WATER |  |  |  |  | TRADE WATER
PIPEM334B |  | CEMENT |  |  |  |  | CEMENT
PIPEM335B |  | MUD |  |  |  |  | MUD
PIPEM336B |  | SEAWATER |  |  |  |  | SEAWATER
| PIPEM337-F | 33% COOLFLOW DTX COLD GLYCOL FLOW |  |  |  |  | 33% COOLFLOW DTX COLD GLYCOL FLOW
| PIPEM337-R | 33% COOLFLOW DTX COLD GLYCOL RETURN |  |  |  |  | 33% COOLFLOW DTX COLD GLYCOL RETURN
| PIPEM338-F | 33% COOLFLOW DTX WARM GLYCOL FLOW |  |  |  |  | 33% COOLFLOW DTX WARM GLYCOL FLOW
| PIPEM338-R | 33% COOLFLOW DTX WARM GLYCOL RETURN |  |  |  |  | 33% COOLFLOW DTX WARM GLYCOL RETURN
PIPEM339B |  | TYPE II WATER |  |  |  |  | TYPE II WATER
PIPEM340B |  | TYPE III WATER |  |  |  |  | TYPE III WATER
PIPEM341B | PIPEM341 | PURIFIED WATER |  |  |  |  | PURIFIED WATER
PIPEM342B |  | HYDRAULIC OIL |  |  |  |  | HYDRAULIC OIL
PIPEM343B |  | COLD FEED |  |  |  |  | COLD FEED
PIPEM344-FB |  | HTG HG FLOW |  |  |  |  | HTG HG FLOW
PIPEM344-RB |  | HTG HG RETURN |  |  |  |  | HTG HG RETURN
PIPEM345-FB |  | HTG LG FLOW |  |  |  |  | HTG LG RETURN
PIPEM345-RB |  | HTG LG RETURN |  |  |  |  | HTG LG RETURN
PIPEM346-FB |  | CHW HG FLOW |  |  |  |  | CHW HG FLOW
PIPEM346-RB |  | CHW HG RETURN |  |  |  |  | CHW HG RETURN
PIPEM347-FB |  | CHW LG FLOW |  |  |  |  | CHW RETURN
PIPEM347-RB |  | CHW LG RETURN |  |  |  |  | CHW LG RETURN
PIPEM348B |  | IRRIGATION WATER |  |  |  |  | IRRIGATION WATER
PIPEM349B |  | BLACK WATER |  |  |  |  | BLACK WATER
| PIPEM350 | HPFE |  |  |  |  | HPFE
| PIPEM351 | LPFE |  |  |  |  | LPFE
PIPEM352-FB |  | PCHWF FLOW |  |  |  |  | PCHWF FLOW
PIPEM352-RB |  | PCHWF RETURN |  |  |  |  | PCHWF RETURN
| PIPEM353 | FE |  |  |  |  | FE
| PIPEM354 | BIOMETHANE REJECT |  |  |  |  | BIOMETHANE REJECT
| PIPEM355 | FEED SLURRY |  |  |  |  | FEED SLURRY
| PIPEM356 | PASTEURISED SLURRY |  |  |  |  | PASTEURISED SLURRY
| PIPEM357 | DIGESTED SLURRY |  |  |  |  | DIGESTED SLURRY
| PIPEM358 | BIOGAS |  |  |  |  | BIOGAS
PIPEM359B |  | PROCESS COMPRESSED AIR |  |  |  |  | PROCESS CPMPRESSED AIR
PIPEM360B |  | INSTRUMENTS COMPRESSED AIR |  |  |  |  | INSTRUMENTS COMPRESSED AIR
PIPEM361B |  | CLEAN STEAM |  |  |  |  | CLEAN STEAM
| PIPEM362-F | 35% COOLFLOW DTX COLD GLYCOL FLOW |  |  |  |  | 35% COOLFLOW DTX COLD GLYCOL FLOW
| PIPEM362-R | 35% COOLFLOW DTX COLD GLYCOL RETURN |  |  |  |  | 35% COOLFLOW DTX COLD GLYCOL RETURN
| PIPEM363-F | 35% COOLFLOW DTX WARM GLYCOL FLOW |  |  |  |  | 35% COOLFLOW DTX WARM GLYCOL FLOW
| PIPEM363-R | 35% COOLFLOW DTX WARM GLYCOL RETURN |  |  |  |  | 35% COOLFLOW DTX WARM GLYCOL RETURN
| PIPEM364 | BLUE STRING |  |  |  |  | BLUE STRING
| PIPEM365 | LIQUID FEED |  |  |  |  | LIQUID FEED
PIPEM366B |  | BOOSTED COLD WATER NON POTABLE |  |  |  |  | BOOSTED COLD WATER NON POTABLE
| PIPEM367 | GREY WATER PUMPING MAIN |  |  |  |  | GREY WATER PUMPING MAIN
PIPEM368B |  | BOOSTED RAINWATER NON POTABLE |  |  |  |  | BOOSTED COLD WATER NON POTABLE
| PIPEM369 | WASTE OUT |  |  |  |  | WASTE OUT
| PIPEM370 | SODIUM BISULPHITE |  |  |  |  | SODIUM BISULPHITE
| PIPEM371 | SODIUM HYPOCHLORITE |  |  |  |  | SODIUM HYPOCHLORITE
PIPEM372B | PIPEM372 | HARVESTED RAINWATER |  |  |  |  | HARVESTED RAINWATER
| PIPEM373 | BIOMETHANE |  |  |  |  | BIOMETHANE
PIPEM374B | PIPEM374 | SULPHURIC ACID |  |  |  |  | SULPHURIC ACID
| PIPEM375 | HYDROGEN PEROXIDE |  |  |  |  | HYDROGEN PEROXIDE
| PIPEM376 | ECWS |  |  |  |  | ECWS
| PIPEM377 | OIL VENT |  |  |  |  | OIL VENT
| PIPEM378 | STEARIC ACID |  |  |  |  | STEARIC ACID
| PIPEM379 | PALMITIC ACID |  |  |  |  | PALMITIC ACID
| PIPEM380 | GLYCERINE |  |  |  |  | GLYCERINE
| PIPEM381 | STORM WATER |  |  |  |  | STORM WATER
| PIPEM382 | 28% COOLFLOW DTX WARM GLYCOL FLOW |  |  |  |  | 28% COOLFLOW DTX WARM GLYCOL
| PIPEM383 | AIR |  |  |  |  | AIR
| PIPEM384 | CCCW |  |  |  |  | CCCW
| PIPEM385 | OIL/WATER |  |  |  |  | OIL/WATER
| PIPEM386 | STEAM SAMPLE |  |  |  |  | STEAM SAMPLE
PIPEM387B | PIPEM387 | INDUSTRIAL USED WATER |  |  |  |  | INDUSTRIAL USED WATER
| PIPEM388-F | 37% COOLFLOW DTX COLD GLYCOL FLOW |  |  |  |  | 37% COOLFLOW DTX COLD GLYCOL FLOW
| PIPEM388-R | 37% COOLFLOW DTX COLD GLYCOL RETURN |  |  |  |  | 37% COOLFLOW DTX COLD GLYCOL RETURN
| PIPEM389-F | 37% COOLFLOW DTX WARM GLYCOL FLOW |  |  |  |  | 37% COOLFLOW DTX WARM GLYCOL FLOW
| PIPEM389-R | 37% COOLFLOW DTX WARM GLYCOL RETURN |  |  |  |  | 37% COOLFLOW DTX WARM GLYCOL RETURN
| PIPEM390 | VACUUM PIPE |  |  |  |  | VACUUM PIPE
| PIPEM391 | RETURN PIPE |  |  |  |  | RETURN PIPE
| PIPEM392 | CHANNEL DROPS OUTLETS TO BALANCE TANK |  |  |  |  | CHANNEL DROPS OUTLETS TO BALANCE TANK
| PIPEM393 | LOW LEVEL POOL SUMPS |  |  |  |  | LOW LEVEL POOL SUMPS
| PIPEM394 | WASTE WATER OUTLETS TO DRAIN |  |  |  |  | WASTE WATER OUTLETS TO DRAIN
PIPEM395B | PIPEM395 | RAW WATER |  |  |  |  | RAW WATER
PIPEM396B |  | OXYGEN REDUCER |  |  |  |  | OXYGEN REDUCER
PIPEM397B |  | TRISODIUM PHOSPAHTE |  |  |  |  | TRISODIUM PHOSPHATE
PIPEM398B | PIPEM398 | DRAINAGE USED WATER |  |  |  |  | DRAINAGE USED WATER
| PIPEM399 | RAINY WATER |  |  |  |  | RAINY WATER
| PIPEM400-F | 28% COOLFLOW DTX GLYCOL FLOW |  |  |  |  | 28% COOLFLOW DTX GLYCOL FLOW
| PIPEM400-R | 28% COOLFLOW DTX GLYCOL RETURN |  |  |  |  | 28% COOLFLOW DTX GLYCOL RETURN
PIPEM401B | PIPEM401 | SERVICE AIR |  |  |  |  | SERVICE AIR
PIPEM402B |  | SWP |  |  |  |  | SWP
| PIPEM403 | YELLOW STRING |  |  |  |  | YELLOW STRING
PIPEM404B |  | PUMPED DISCHARGE |  |  |  |  | PUMPED DISCHARGE
| PIPEM405 | R449A |  |  |  |  | R449A
| PIPEM406 | R410A |  |  |  |  | R410A
| PIPEM407 | R717 |  |  |  |  | R717
| PIPEM408 | R513A |  |  |  |  | R513A
PIPEM409B |  | VENT PIPE DRAINAGE |  |  |  |  | VENT PIPE DRAINAGE
PIPEM410B |  | WASTE DRAINAGE |  |  |  |  | WASTE DRAINAGE
PIPEM411B | PIPEM411 | FOUL WATER DRAINAGE |  |  |  |  | FOUL WATER DRAINAGE
PIPEM413B |  | RAINWATER DRAINAGE |  |  |  |  | RAINWATER DRAINAGE
PIPEM414B |  | GREYWATER DRAINAGE |  |  |  |  | GREYWATER DRAINAGE
| PIPEM415 | LAB BOOSTED CWS |  |  |  |  | LAB BOOSTED CWS
PIPEM416B |  | PERMEATE |  |  |  |  | PERMEATE
PIPEM417B |  | SCREENED SEWAGE |  |  |  |  | SCREENED SEWAGE
PIPEM418B-F |  | GSHP RETURN |  |  |  |  | GSHP RETURN
PIPEM418B-R |  | GSHP FLOW |  |  |  |  | GSHP FLOW
| PIPEM419-F | PROCESSED CHILLED WATER FLOW |  |  |  |  | PROCESSED CHILLED WATER FLOW
| PIPEM419-R | PROCESSED CHILLED WATER RETURN |  |  |  |  | PROCESSED CHILLED WATER RETURN
PIPEM420-FB | PIPEM420-F | PROCESSED COOLING WATER FLOW |  |  |  |  | PROCESSED COOLING WATER FLOW
| PIPEM420-R | PROCESSED COOLING WATER RETURN |  |  |  |  | PROCESSED COOLING WATER RETURN
PIPEM421B |  | GREASE DRAINAGE |  |  |  |  | GREASE DRAINAGE
PIPEM422B |  | GREASE PUMP DRAINAGE |  |  |  |  | GEASE PUMP DRAINAGE
PIPEM423B |  | IRRIGATION WATER |  |  |  |  | IRRIGATION WATER
PIPEM424-FB |  | LTHW LG-FLOW |  |  |  |  | LTHW LG-FLOW
PIPEM424-FR |  | LTHW LG-RETURN |  |  |  |  | LTHW LG-RETURN
PIPEM425-FB |  | LTHW HG-FLOW |  |  |  |  | LTHW HG-FLOW
PIPEM425-RB |  | LTHW HG-RETURN |  |  |  |  | LTHW HG-RETURN
| PIPEM426 | R744 CO2 |  |  |  |  | R744 CO2
PIPEM427B |  | SECONDARY HOT WATER |  |  |  |  | SECONDARY HOT WATER
| PIPEM429 | BOOSTED WASH DOWN SERVICE |  |  |  |  | BOOSTED WASH DOWN SERVICE
PIPEM430B | PIPEM430 | IW |  |  |  |  | IW
| PIPEM431-F | HVRF FLOW |  |  |  |  | HVRF FLOW
| PIPEM431-R | HVRF RETURN |  |  |  |  | HVRF RETURN
| PIPEM432 | NON POTABLE TANKING WATER BCWS |  |  |  |  | NON POTABLE TANKING WATER BCWS
| PIPEM433 | BCWS |  |  |  |  | BCWS
| PIPEM434 | TRENT WATER |  |  |  |  | TRENT WATER
PIPEM435B |  | DOMESTIC COLD WATER |  |  |  |  | DOMESTIC COLD WATER
| PIPEM436 | DOMESTIC HOT WATER |  |  |  |  | DOMESTIC HOT WATER
PIPEM436-FB | PIPEM436-F | DOMESTIC HOT WATER FLOW |  |  |  |  | DOMESTIC HOT WATER FLOW
PIPEM436-RB | PIPEM436-R | DOMESTIC HOT WATER RETURN |  |  |  |  | DOMESTIC HOT WATER RETURN
PIPEM437B |  | HIGH PRESSURE COLD WATER |  |  |  |  | HIGH PRESSURE COLD WATER
PIPEM438B |  | SANITISATION CHEMICALS |  |  |  |  | SANITISATION CHEMICALS
PIPEM439B |  | CLEANING FOAM |  |  |  |  | CLEANING FOAM
PIPEM440B |  | CIP DETERGENT |  |  |  |  | CIP DETERGENT
PIPEM441B |  | PROCESS WASTE |  |  |  |  | PROCESS WASTE
PIPEM442B |  | PROCESS WATE VENTS |  |  |  |  | PROCESS WATE VENTS
PIPEM443B |  | SANITARY DRAINS |  |  |  |  | SANITARY DRAINS
PIPEM444B |  | INGREDENT (TRACED) |  |  |  |  | INGREDENT (TRACED)
PIPEM445B |  | INGREDENT |  |  |  |  | INGREDENT
PIPEM446B |  | FINISHED PRODUCTS |  |  |  |  | FINISHED PRODUCT
PIPEM447B |  | EMERGENCY VENT LINE |  |  |  |  | EMERGENCY VENT LINE
PIPEM448B |  | EXTERNAL TANK TO TRUCK |  |  |  |  | EXTERNAL TANK TO TRUCK
PIPEM449B |  | CLEAN IN PLACE SUPPLY |  |  |  |  | CLEAN IN PLACE
PIPEM450B |  | CLEAN IN PLACE RETURN |  |  |  |  | CLEAN IN PLACE RETURN
PIPEM451B |  | BIOMETHANE TO ROV |  |  |  |  | BIOMETHANE TO ROV
| PIPEM452 | PCW (SI) F |  |  |  |  | PCW (SI) F
| PIPEM453 | PCW (SI) R |  |  |  |  | PCW (SI) R
| PIPEM454 | PWS (BT) |  |  |  |  | PWS (BT)
PIPEM455B |  | PUMP DRAIN |  |  |  |  | PUMP DRAIN
PIPEM456B | PIPEM456 | FRESH WATER |  |  |  |  | FRESH WATER
PIPEM457B |  | POWDERED ACTIVATED CARBON |  |  |  |  | POWDERED ACTIVATED CARBON
PIPEM458B |  | UREA |  |  |  |  | UREA
| PIPEM459 | SOFTENED WATER BCWS |  |  |  |  | SOFTENED WATER BCWS
| PIPEM460 | PUMPED LINE |  |  |  |  | PUMPED LINE
| PIPEM461 | SYRUP |  |  |  |  | SYRUP
| PIPEM462 | HYDROCHLORIC ACID |  |  |  |  | HYDROCHLORIC ACID
| PIPEM463 | WATER |  |  |  |  | WATER
| PIPEM464 | COLD WATER TO SOFTENER |  |  |  |  | COLD WATER TO SOFTENER
| PIPEM465 | GRAN HOUSE WASH WATER TO PUMP |  |  |  |  | GRAN HOUSE WASH WATER TO PUMP
| PIPEM466 | COMPRESSOR COOLING WATER |  | COMPRESSOR | COOLING | WATER
PIPEM467-FB |  | CT HTG VENT FLOW |  |  |  |  | CT HTG VENT FLOW
PIPEM467-RB |  | CT HTG VENT RETURN |  |  |  |  | CT HTG VENT RETURN
PIPEM468B |  | EMERGENCY SHOWER WATER |  |  |  |  | EMERGENCY SHOWER WATER
PIPEM469-FB | PIPEM469-F | HEAT RECOVERY FLOW |  |  |  |  | HEAT RECOVERY FLOW
PIPEM469-RB | PIPEM469-R | HEAT RECOVERY RETURN |  |  |  |  | HEAT RECOVERY RETURN
PIPEM470B |  | TREATED SWIMMING POOL WATER |  |  |  |  | TREATED SWIMMING POOL WATER
PIEM471B |  | UNTREATED SWIMMING POOL WATER |  |  |  |  | UNTREATED SWIMMING POOL WATER
| PIPEM472-F | LUBRICATING OIL FLOW |  |  |  |  | LUBRICATING OIL FLOW
| PIPEM472-R | LUBRICATING OIL RETURN |  |  |  |  | LUBRICATING OIL RETURN
| PIPEM473-F | PROCESS HOT WATER FLOW |  |  |  |  | PROCESS HOT WATER FLOW
| PIPEM473-R | PROCESS HOT WATER RETURN |  |  |  |  | PROCESS HOT WATER RETURN
PIPEM474B | PIPEM474 | HELIUM |  |  |  |  | HELIUM
PIPEM475-FB |  | AIR SOURCE HEAT PUMP FLOW |  |  |  |  | AIR SOURCE HEAT PUMP FLOW
PIPEM475RB |  | AIR SOURCE HEAT PUMP RETURN |  |  |  |  | AIR SOURCE HEAT PUMP RETURN
| PIPEM476 | LIQUID |  |  |  |  | LIQUID
| PIPEM477 | VAPOUR |  |  |  |  | VAPOUR
| PIPEM478 | ARGON |  |  |  |  | ARGON
PIPEM479-FB |  | GEO EXCHANGEWATER FLOW |  |  |  |  | GEO EXCHANGEWATER FLOW
PIPEM479-RB |  | GEO EXCHANGEWATER RETURN |  |  |  |  | GEO EXCHANGEWATER RETURN
PIPEM480-FB |  | DECENTRALIZED LOOP WATER FLOW |  |  |  |  | DECENTRALIZED LOOP WATER FLOW
PIPEM480-RB |  | DECENTRALIZED LOOP WATER RETURN |  |  |  |  | DECENTRALIZED LOOP WATER RETURN
PIPEM481B | PIPEM481 | CONDENSATE TREATED |  |  |  |  | CONDENSATE TREATED
PIPEM482B |  | REFRIGERATION LINE |  |  |  |  | REFRIGERATION LINE
| PIPEM483 | CHILLED GLYCOL |  |  |  |  | CHILLED GLYCOL
| PIPEM484 | WARM GLYCOL |  |  |  |  | WARM GLYCOL
PIPEM485B |  | WATER MIST SYSTEM |  |  |  |  | WATER MIST SYSTEM
PIPEM486B | PIPEM486 | RECLAIMED RAINWATER |  |  |  |  | RECLAIMED RAINWATER
PIPEM487B | PIPEM487 | BOOSTED RECLAIMED RAINWATER |  |  |  |  | BOOSTED RECLAIMED RAINWATER
PIPEM488B | PIPEM488 | DOMESTIC WATER |  |  |  |  | DOMESTIC WATER
PIPEM489B | PIPEM489 | REFRIGERANT |  |  |  |  | REFRIGERANT
PIPEM490B | PIPEM490 | BLOW DOWN DRAINAGE |  |  |  |  | BLOW DOWN DRAINAGE
PIPEM491B | PIPEM491 | FIRE WATER DRAINAGE |  |  |  |  | FIRE WATER DRAINAGE
PIPEM492B | PIPEM492 | EMERGECY WATER INFILL |  |  |  |  | EMERGECY WATER INFILL
PIPEM494-FB |  | AWHP FLOW |  |  |  |  | AWHP FLOW
PIPEM494-RB |  | AWHP RETURN |  |  |  |  | AWHP RETURN
PIPEM495-FB |  | WWHP FLOW |  |  |  |  | WWHP FLOW
PIPEM495-RB |  | WWHP RETURN |  |  |  |  | WWHP RETURN
The colours shown on the above chart are for illustration purposes only. Pipemark is printed to BS4800 colours
2025-04-29 | Ver 2